## Tabelle1
Use case area | Use case | Spatial scope | Physical parameters of the commodities | Operational states of the commodities | Physical parameters of the network components | Number of utilities involved? | Materials of the network components | Dimensions of the nework components | Geometry of the network components | Are LODs required | Coupling/Integration of Utility Networks with City Entities | Topographic representation (2D/3D) | Topological representation | Functional aspects | Time-variant attributes | Connection to sensors / realtime data | Cost parameters | Service life parameters | Other standards used
District Heating / Cooling Planning |  | City blocks, quarters, districts, entire city | Flow, pressures, temperature ranges, material type | Flow, pressures, temperature ranges (time-dependent and/or peaks) | yes | 1..2 | yes | yes | yes | maybe | yes | yes | yes | yes | depends on the application | depends on the application | yes | yes | IFC
District Heating /Cooling Simulation
Electricity Grid Planning
Electricity Grid Simulation
Smart Energy Planning & Operation |  | City blocks, quarters, districts, entire city | Flow, resistance, potential, types |  | yes | n | maybe | yes | yes | maybe | yes | yes | yes | yes | depends on the application | depends on the application | yes | yes | CIM, gbXML, IFC
Waste Suction Systems
Waste Water Network Planning & Operation
Documentation and Visualisation of Utility Networks |  | City blocks, quarters, districts, entire city | no |  | yes | 1..n | maybe graphical | yes | yes | maybe | implicitly given | yes | depends on the application | no | depends on the application | depends on the application | no | yes | CG standards (Collada, KML, X3D)
Operational impacts of Utility Networks
Vulnerability Assessment and Disaster Management |  | City blocks, quarters, districts, entire city | yes |  | yes | 1..n | maybe | yes | yes | no | yes | yes | yes | yes | depends on the application | depends on the application | no | no
City System Simulation and Smart Cities
Urban Facility Management
Further network types should be definable
Gas Network Planning and Simulation
Navigation within Utility Networks